## Design Team Responsibilities		MATRIX OF RESPONSIBILITIES

| RESPONSIBILITIES L: Lead and Co-ordinate D: Design & Draw IN: Input | Architect | Structural Engineer | Civil Engineer | Mechanical and Electrical Engineer | Acoustic Consultant | COMMENTS |
| --- | --- | --- | --- | --- | --- | --- |
| General |  |  |  |  |  |  |
| Health and Safety |  |  |  |  |  |  |
| Health & Safety (Design Risk Assessments) |  |  |  |  |  |  |
| Co-ordinate CDM Design Information |  |  |  |  |  |  |
| Review and validate content of Employer's Requirements - advise on any further information/clarification required |  |  |  |  |  |  |
| Review Employer’s Requirements / Preferred Bidder & Financial Close Documentation. |  |  |  |  |  |  |
| Review Tender Amendments |  |  |  |  |  |  |
| Obtain Client's requirements, budget and timetable |  |  |  |  |  |  |
| Obtain information about the site from the Client |  |  |  |  |  |  |
| Provide services as a consultant on a regular basis |  |  |  |  |  |  |
| Develop scheme design from approved outline proposals or Employer's Requirements and Contractor's Proposals, taking account of all amendments arising out of design development |  |  |  |  |  |  |
| Provide information to, discuss proposals with and incorporate input of other consultants into scheme design |  |  |  |  |  |  |
| Develop detail design from approved scheme design |  |  |  |  |  |  |
| Develop alternative detailed designs |  |  |  |  |  |  |
| Provide information to, discuss proposals with and incorporate input of other consultants into detail design |  |  |  |  |  |  |
| Instruct Changes to Brief |  |  |  |  |  |  |
| Design Team Co-ordination |  |  |  |  |  |  |
| Review/check and comment on detailed design by specialists undertaking design of parts of the project. |  |  |  |  |  |  |
| Provide the criteria for the Services Subcontractor to produce builders work information in connection with the mechanical, electrical and plumbing services. |  |  |  |  |  |  |
| Check subcontractor's tenders, proposals, calculations, drawings and specifications. |  |  |  |  |  |  |
| Provide information to enable necessary supporting structure plant and equipment, including platforms, walkways, access ladders, stairs, etc to be designed by other consultants. |  |  |  |  |  |  |
| Provide other consultants with detailed information on the size and location of plant and equipment rooms and of major service ducts and routes |  |  |  |  |  |  |
| Provide graphic design services |  |  |  |  |  |  |
| Environmental Assessment |  |  |  |  |  |  |
| Advise on the need to obtain approvals under Building Acts and/or other statutory requirements |  |  |  |  |  |  |
| Prepare applications for approvals under Building Acts and/or Regulations and other statutory requirements |  |  |  |  |  |  |
| Apply for approvals under Building Acts and/or Regulations and other statutory requirements |  |  |  |  |  |  |
| Negotiate if necessary over Building Acts and/or Regulations and other statutory requirements and revise production information |  |  |  |  |  |  |
| Conduct exceptional negotiations for approvals by statutory authorities |  |  |  |  |  |  |
| Negotiate waivers or relaxations under Building Acts and/or Regulations and other statutory requirements |  |  |  |  |  |  |
| Detailed Planning Applications |  |  |  |  |  |  |
| Prepare multiple applications for full planning permission |  |  |  |  |  |  |
| Make revisions to scheme design to deal with requirements of planning authorities |  |  |  |  |  |  |
| Produce narrative of planning and building control issues |  |  |  |  |  |  |
| Revise planning application |  |  |  |  |  |  |
| Resubmit planning application |  |  |  |  |  |  |
| Advise on rights including easements and responsibilities of owners and lessees |  |  |  |  |  |  |
| Provide information on rights including easements and responsibilities of owners and lessees |  |  |  |  |  |  |
| Provide services in connection with party wall negotiations |  |  |  |  |  |  |
| Building Regulations Applications |  |  |  |  |  |  |
| Fire Strategy and Certification |  |  |  |  |  |  |
| Advise on works of special quality e.g. shop fittings |  |  |  |  |  |  |
| Equipment Planning |  |  |  |  |  |  |
| Liaison with medical equipment manufacturers |  |  |  |  |  |  |
| Verification of medical equipment manufacturers design information for design development and works packages |  |  |  |  |  |  |
| Advise on sound insulation |  |  |  |  |  |  |
| Advise on fire protection |  |  |  |  |  |  |
| Advise on environmental issues |  |  |  |  |  |  |
| Advise on suitability and use of retained buildings |  |  |  |  |  |  |
| Interior Design |  |  |  |  |  |  |
| Advise on the selection of furniture and fittings |  |  |  |  |  |  |
| Plan Loose Furniture and Fittings and schedule |  |  |  |  |  |  |
| Provide industrial design services |  |  |  |  |  |  |
| Temporary works |  |  |  |  |  |  |
| Give general advice on maintenance of the project |  |  |  |  |  |  |
| Verification of Design Information for Works Packages |  |  |  |  |  |  |
| Validation of subcontractors design proposals |  |  |  |  |  |  |
| Verification of Built Works |  |  |  |  |  |  |
| Construction Interface Detailing |  |  |  |  |  |  |
| COST, VALUE FOR MONEY AND CONTRACT |  |  |  |  |  |  |
| Cost estimating |  |  |  |  |  |  |
| Advise on the use of energy in new or existing buildings |  |  |  |  |  |  |
| Carry out life cycle analyses of proposed or existing buildings to determine their likely cost in use |  |  |  |  |  |  |
| Review with the Client alternative design and construction approaches and cost implications |  |  |  |  |  |  |
| Provide information to others for cost planning and control throughout the project |  |  |  |  |  |  |
| Provide information to other consultants for their preparation of cost estimate |  |  |  |  |  |  |
| Measurement/ quantities |  |  |  |  |  |  |
| Master programme |  |  |  |  |  |  |
| Contract documentation |  |  |  |  |  |  |
| Site preparation / prelims |  |  |  |  |  |  |
| Works Package and Tender Preparation |  |  |  |  |  |  |
| SITE ATTENDANCE |  |  |  |  |  |  |
| Make Site Visit(s) and provide initial appraisal |  |  |  |  |  |  |
| Site Supervision of Work |  |  |  |  |  |  |
| Inspection of materials on site/at works |  |  |  |  |  |  |
| Witness testing on/off site |  |  |  |  |  |  |
| Visit site at appropriate intervals to view construction and determine that Works are being executed generally in accordance with the Contract Documents - Contractor request |  |  |  |  |  |  |
| Visit site at appropriate intervals to view construction and determine that Works are being executed generally in accordance with the Contract Documents - at Consultant's discretion |  |  |  |  |  |  |
| Advise on need for site testing |  |  |  |  |  |  |
| Provide criteria for site testing |  |  |  |  |  |  |
| Attend and report at design review meetings |  |  |  |  |  |  |
| Attend and report at Client project meetings |  |  |  |  |  |  |
| Attend and report at subcontractor meetings |  |  |  |  |  |  |
| Attend and report at planning authority meetings |  |  |  |  |  |  |
| Attend and report at building control meetings |  |  |  |  |  |  |
| Attend and report at other statutory authority meetings |  |  |  |  |  |  |
| Attend and report at meetings with specialists |  |  |  |  |  |  |
| INFORMATION PRODUCTION |  |  |  |  |  |  |
| Produce all necessary information for the purposes of achieving financial close, tender information and construction. |  |  |  |  |  |  |
| Submit scheme design showing spatial arrangements, materials and appearance for approval by Client or others |  |  |  |  |  |  |
| Prepare perspective drawings, actual and electronic modeling |  |  |  |  |  |  |
| Prepare accommodation schedules and areas |  |  |  |  |  |  |
| Prepare room data sheets |  |  |  |  |  |  |
| Prepare production drawings which include layouts, plans, levels, thicknesses, setting out, co-ordinates, elevations, sections, details and narrative. |  |  |  |  |  |  |
| Prepare drawings and specifications of materials for the construction of estate roads and sewers |  |  |  |  |  |  |
| Prepare specifications |  |  |  |  |  |  |
| Prepare schedules |  |  |  |  |  |  |
| Prepare bar bending schedules and quantification information. |  |  |  |  |  |  |
| Prepare system schematics |  |  |  |  |  |  |
| Prepare proposals for testing and commissioning |  |  |  |  |  |  |
| Demolition - Prepare drawings and schedules identifying demolition works on site |  |  |  |  |  |  |
| Prepare earthworks and excavation design/details |  |  |  |  |  |  |
| Excavation and ground work |  |  |  |  |  |  |
| Prepare foundations design/details |  |  |  |  |  |  |
| Prepare ground improvement/piling scheme and specification |  |  |  |  |  |  |
| Prepare earth and water retaining structures including reinforced earth design/details |  |  |  |  |  |  |
| Prepare ground and surface treatment design/details |  |  |  |  |  |  |
| Prepare below ground drainage design/details |  |  |  |  |  |  |
| Prepare paving and surfacing of roads, car parks, service yards and footpaths design/detailing |  |  |  |  |  |  |
| Prepare fencing and landscaping details |  |  |  |  |  |  |
| Prepare in-situ and pre-cast concrete structural design/detailing |  |  |  |  |  |  |
| Prepare masonry structural design/detailing |  |  |  |  |  |  |
| Prepare primary structural steel design/detailing |  |  |  |  |  |  |
| Prepare secondary structural steel or metalwork design/detailing - (stairs, balustrading, handrails, wind posts, cladding supports, etc) |  |  |  |  |  |  |
| Prepare outline structural steel design and specification to enable specialist to complete the design and detailing. |  |  |  |  |  |  |
| Prepare building envelope design/detailing |  |  |  |  |  |  |
| Prepare design/detailing for external and ancillary buildings |  |  |  |  |  |  |
| Provide information to, discuss proposals with and incorporate input of other consultants into production information |  |  |  |  |  |  |
| Site plan, layout and Site Boundaries |  |  |  |  |  |  |
| Setting out: dimensions, levels, falls |  |  |  |  |  |  |
| Provision of room and equipment layouts |  |  |  |  |  |  |
| Kitchen layouts |  |  |  |  |  |  |
| Prepare interior design scheme |  |  |  |  |  |  |
| Coordinate production information |  |  |  |  |  |  |
| Submit plans for proposed building works for approval of landlords, funders, freeholders, tenants or others as required by the Client |  |  |  |  |  |  |
| Issue drawings to other consultants, statutory authorities, etc |  |  |  |  |  |  |
| Issue drawings to construction team (full size) |  |  |  |  |  |  |
| Issue of drawings in electronic format |  |  |  |  |  |  |
| Advise on need for testing |  |  |  |  |  |  |
| Provide as built drawings for the project |  |  |  |  |  |  |
| Provide information for the Health and Safety file and maintenance manuals |  |  |  |  |  |  |
| Compile maintenance and operational manuals |  |  |  |  |  |  |
| 2. Surveys / existing structures |  |  |  |  |  |  |
| Topographical survey |  |  |  |  |  |  |
| Provide criteria for obtaining measured site survey by others |  |  |  |  |  |  |
| Soil Investigation |  |  |  |  |  |  |
| Land Surveys |  |  |  |  |  |  |
| Site Investigation |  |  |  |  |  |  |
| Arrange for investigations of soil conditions of sites |  |  |  |  |  |  |
| Provide contaminated land and environmental engineering services |  |  |  |  |  |  |
| Condition survey of existing buildings/structures |  |  |  |  |  |  |
| Schedule of Dilapidation |  |  |  |  |  |  |
| Provide structural survey services |  |  |  |  |  |  |
| Examine, undertake survey and advise on existing building services systems |  |  |  |  |  |  |
| Inspect and prepare report and schedule of dilapidations |  |  |  |  |  |  |
| Investigate and advise on sound insulation in existing buildings |  |  |  |  |  |  |
| Investigate and advise on fire protection in existing buildings |  |  |  |  |  |  |
| Condition survey of existing utilities/services |  |  |  |  |  |  |
| Load capacity of existing structures |  |  |  |  |  |  |
| Strengthening of existing structures |  |  |  |  |  |  |
| 3. Structure |  |  |  |  |  |  |
| Below ground drainage and GFS penetrations |  |  |  |  |  |  |
| Foundations |  |  |  |  |  |  |
| Retaining walls |  |  |  |  |  |  |
| Ground bearing slabs, structural fill, blinding |  |  |  |  |  |  |
| Structural steelwork |  |  |  |  |  |  |
| Steelwork connections |  |  |  |  |  |  |
| Steelwork corrosion protection |  |  |  |  |  |  |
| Reinforcement drawings & bending schedules |  |  |  |  |  |  |
| Precast / pre-stressed concrete |  |  |  |  |  |  |
| Structural toppings |  |  |  |  |  |  |
| Floor pits, chambers, trenches and recesses |  |  |  |  |  |  |
| Lift pits |  |  |  |  |  |  |
| In-situ concrete staircases/ramps |  |  |  |  |  |  |
| Anticipated structural movements |  |  |  |  |  |  |
| Major structural penetrations |  |  |  |  |  |  |
| Minor structural penetrations |  |  |  |  |  |  |
| Loading: dead, imposed, wind & snow loading |  |  |  |  |  |  |
| Cold formed sections (e.g. sheeting rails & purlins) |  |  |  |  |  |  |
| Wind posts and other masonry restraints/fixings |  |  |  |  |  |  |

| RESPONSIBILITIES L: Lead and Co-ordinate D: Design & Draw IN: Input | Architect | Structural Engineer | Civil Engineer | Mechanical and Electrical Engineer | Acoustic Consultant | COMMENTS |
| --- | --- | --- | --- | --- | --- | --- |
| 4 building services |  |  |  |  |  |  |
| Heating, Ventilation, & Air Conditioning |  |  |  |  |  |  |
| Ventilation Louvres |  |  |  |  |  |  |
| Power & Lighting |  |  |  |  |  |  |
| Fire detection, alarm & sprinkler systems |  |  |  |  |  |  |
| Security equipment (access doors, barriers, security card system etc) |  |  |  |  |  |  |
| CCTV & communications systems |  |  |  |  |  |  |
| Lifts & escalators (including strategy) |  |  |  |  |  |  |
| Incoming services |  |  |  |  |  |  |
| Co-ordination of services |  |  |  |  |  |  |
| Fixing services |  |  |  |  |  |  |
| Secondary support to services |  |  |  |  |  |  |
| Plinths & bases etc. |  |  |  |  |  |  |
| Fire strategy |  |  |  |  |  |  |
| Plumbing |  |  |  |  |  |  |
| Above ground drainage |  |  |  |  |  |  |
| Sanitary Fittings |  |  |  |  |  |  |
| Sanitary systems |  |  |  |  |  |  |
| Service Risers and voids |  |  |  |  |  |  |
| Acoustic design - plant |  |  |  |  |  |  |
| Co-ordination drawings for external services & drainage |  |  |  |  |  |  |
| Smoke ventilation to BS 5588 |  |  |  |  |  |  |
| Standby generator & UPS |  |  |  |  |  |  |
| Compressed air installation |  |  |  |  |  |  |
| External Security systems |  |  |  |  |  |  |
| PA sound systems |  |  |  |  |  |  |
| Provide performance requirements for specialist elements as below to enable subcontractors to provide detailed design for: |  |  |  |  |  |  |
| Acoustic design and treatment of the works |  |  |  |  |  |  |
| Air compressors and compressed air services |  |  |  |  |  |  |
| Air conditioning and mechanical ventilation services |  |  |  |  |  |  |
| Boilers and auxiliary plant |  |  |  |  |  |  |
| Builder's work for services |  |  |  |  |  |  |
| Calorifiers |  |  |  |  |  |  |
| Clock installations |  |  |  |  |  |  |
| Cold water services |  |  |  |  |  |  |
| Cooling water services |  |  |  |  |  |  |
| Distribution mains for any services |  |  |  |  |  |  |
| Electric lighting and power installations |  |  |  |  |  |  |
| Electric generation plant and systems |  |  |  |  |  |  |
| Electric substations and switchgear |  |  |  |  |  |  |
| Electric transmission systems |  |  |  |  |  |  |
| Emergency lighting systems |  |  |  |  |  |  |
| Energy management systems |  |  |  |  |  |  |
| Exhaust gas treatment and flues |  |  |  |  |  |  |
| External lighting installations |  |  |  |  |  |  |
| Fire detection and alarm systems |  |  |  |  |  |  |
| Fire protection systems |  |  |  |  |  |  |
| Flood lighting systems |  |  |  |  |  |  |
| Fuel gas distribution systems |  |  |  |  |  |  |
| Heating systems |  |  |  |  |  |  |
| Hot water services |  |  |  |  |  |  |
| Information technology (IT) systems |  |  |  |  |  |  |
| Intruder detection and alarm systems |  |  |  |  |  |  |
| Lifts, hoists and escalators |  |  |  |  |  |  |
| Lightning protection systems |  |  |  |  |  |  |
| Medical gas and vacuum services |  |  |  |  |  |  |
| Pneumatic tube conveyor systems |  |  |  |  |  |  |
| Power for specialist installations (cranes, lifts, doors, etc) |  |  |  |  |  |  |
| Power operated louvers |  |  |  |  |  |  |
| Public address, personnel location and call services |  |  |  |  |  |  |
| Public health and plumbing systems |  |  |  |  |  |  |
| Radio and TV reception services |  |  |  |  |  |  |
| Security and access control systems |  |  |  |  |  |  |
| Steam and condensate return services |  |  |  |  |  |  |
| Sterilizing equipment |  |  |  |  |  |  |
| Street lighting |  |  |  |  |  |  |
| Thermal insulation applied to the engineering services systems |  |  |  |  |  |  |
| Vibration control applied to the engineering services systems |  |  |  |  |  |  |
| Water filtration and treatment systems |  |  |  |  |  |  |
| 5. ARCHITECTURAL ELEMENTS |  |  |  |  |  |  |
| Prepare soft landscaping design |  |  |  |  |  |  |
| External works & hard landscaping |  |  |  |  |  |  |
| Masonry and stability calculations |  |  |  |  |  |  |
| Restraint details |  |  |  |  |  |  |
| Secondary structures |  |  |  |  |  |  |
| Steel framing to openings in cladding/masonry |  |  |  |  |  |  |
| Roof, eaves and gutters |  |  |  |  |  |  |
| Cladding and Curtain walling |  |  |  |  |  |  |
| Wall ties |  |  |  |  |  |  |
| Movement joints |  |  |  |  |  |  |
| Lintels |  |  |  |  |  |  |
| Glazing |  |  |  |  |  |  |
| Windows / doors / louvres |  |  |  |  |  |  |
| Internal non-structural walls / partitions |  |  |  |  |  |  |
| Decorative cladding (e.g. GRP, GRG) |  |  |  |  |  |  |
| Screeds |  |  |  |  |  |  |
| Co-ordination of all building tolerances |  |  |  |  |  |  |
| Catering equipment (kitchens etc) |  |  |  |  |  |  |
| Ceilings |  |  |  |  |  |  |
| Acoustic design – building |  |  |  |  |  |  |
| Ironmongery |  |  |  |  |  |  |
| Wall Protection |  |  |  |  |  |  |
| 6. Builder’s Work |  |  |  |  |  |  |
| Minor structural penetrations |  |  |  |  |  |  |
| Co-ordination of builder’s work |  |  |  |  |  |  |
| Plinths and bases for plant / machinery |  |  |  |  |  |  |
| Steelwork supports for plant / machinery |  |  |  |  |  |  |
| Cast-in conduits, pipes & sleeves |  |  |  |  |  |  |
| Cast-in inserts, hooks, and bolts |  |  |  |  |  |  |
| Lift guide rails, etc |  |  |  |  |  |  |
| Lifting beams |  |  |  |  |  |  |
| Temporary openings for delivery of plant, and delivery routes |  |  |  |  |  |  |
| 7. MISCELLANEOUS |  |  |  |  |  |  |
| Fire protection |  |  |  |  |  |  |
| Waterproofing and sealants (above ground) |  |  |  |  |  |  |
| Waterproofing and sealants (below ground) |  |  |  |  |  |  |
| Handrails, balustrades, parapets |  |  |  |  |  |  |
| Barriers for vehicles / people |  |  |  |  |  |  |
| Access walkways / ladders |  |  |  |  |  |  |
| Proprietary steel access / escape stairs |  |  |  |  |  |  |
| Cleaning access equipment |  |  |  |  |  |  |
| Value Engineering |  |  |  |  |  |  |
| Compilation of Maintenance Manuals (Building) |  |  |  |  |  |  |
| Co-ordination of Maintenance Manuals (Services) |  |  |  |  |  |  |
| Roller shutter doors |  |  |  |  |  |  |
| Shelving / racking |  |  |  |  |  |  |
| Duct and chamber covers and gratings |  |  |  |  |  |  |
| Satellite dish /aerial supports |  |  |  |  |  |  |
| Miscellaneous steelwork and fixing to primary structure |  |  |  |  |  |  |
| Signage and way finding strategy and details |  |  |  |  |  |  |
| External Finishes |  |  |  |  |  |  |
| Internal Finishes |  |  |  |  |  |  |
| Non-structural screeds and toppings |  |  |  |  |  |  |
| Floating floors and acoustic isolation/bearings |  |  |  |  |  |  |
| Special loading bays dock levellers, etc. |  |  |  |  |  |  |
| Refuse Disposal |  |  |  |  |  |  |
| Public Art |  |  |  |  |  |  |
| 8. Drainage |  |  |  |  |  |  |
| Surface water drainage below ground floor slab |  |  |  |  |  |  |
| Surface water drainage above ground floor slab |  |  |  |  |  |  |
| Foul drainage below ground floor slab |  |  |  |  |  |  |
| Foul drainage above ground floor slab |  |  |  |  |  |  |
| Gutter details, RWPs & secondary support |  |  |  |  |  |  |
| See above section 4 for co-ordination |  |  |  |  |  |  |
| 9. EXTERNAL WORKS |  |  |  |  |  |  |
| Master Plan |  |  |  |  |  |  |
| Road, cycle routes & carpark layout |  |  |  |  |  |  |
| Pavements (sidewalks), kerbs |  |  |  |  |  |  |
| External hardstandings |  |  |  |  |  |  |
| Tie in to existing construction |  |  |  |  |  |  |
| Masonry retaining walls |  |  |  |  |  |  |
| Concrete retaining walls |  |  |  |  |  |  |
| Non-standard concrete chambers, ducts, trenches |  |  |  |  |  |  |
| Fences, bollards, etc |  |  |  |  |  |  |
| Street furniture |  |  |  |  |  |  |
| Planting and landscaping |  |  |  |  |  |  |
| Vehicle movements and turning circles |  |  |  |  |  |  |
| External signage, line markings |  |  |  |  |  |  |
| Vehicle and pedestrian barriers. |  |  |  |  |  |  |
| Earthing pits |  |  |  |  |  |  |
| Free standing enclosures |  |  |  |  |  |  |
| Street Lighting |  |  |  |  |  |  |
| 10. external liaison/OFF SITE WORKS |  |  |  |  |  |  |
| Consult with planning authorities |  |  |  |  |  |  |
| Consult with building control authorities |  |  |  |  |  |  |
| Consult with environmental authorities |  |  |  |  |  |  |
| Consult with licensing authorities |  |  |  |  |  |  |
| Liaison with Fire Authority |  |  |  |  |  |  |
| Liaison with Local Authority |  |  |  |  |  |  |
| Liaison with Highway Authority |  |  |  |  |  |  |
| Liaison with utility suppliers for site supplies and on site utilities diversions |  |  |  |  |  |  |
| Liaison with utility suppliers for off site utility diversions |  |  |  |  |  |  |
| Make submissions to UK heritage bodies and/or non-statutory bodies |  |  |  |  |  |  |
| Provide information to advisory bodies |  |  |  |  |  |  |
| Negotiate with advisory bodies |  |  |  |  |  |  |
| Diversions of existing drainage networks |  |  |  |  |  |  |
| New connections/outfalls to drainage networks |  |  |  |  |  |  |
| New road junctions |  |  |  |  |  |  |
| Alterations to existing road junctions |  |  |  |  |  |  |
| Highway signage |  |  |  |  |  |  |
| Highway drainage |  |  |  |  |  |  |
| Traffic analysis for junctions |  |  |  |  |  |  |
| Traffic Impact Assessment and Green Travel Plan |  |  |  |  |  |  |
| Advise on the need for specialist contractors, subcontractors and suppliers to design and execute parts of the Works |  |  |  |  |  |  |
| Traffic Signals |  |  |  |  |  |  |

NOTES TO MATRIX OF RESPONSIBILITIES

This matrix is intended to define the interfaces between disciplines and avoid possible conflicts or misunderstanding. The responsibilities noted under “Contractor” will vary dependent on the procurement method, and will require much fuller definition in the Contract Documents, particularly in relation to the Contractor’s design input. Some of these responsibilities may be the responsibility of Works Package Contractors. The following explanatory notes should be read in conjunction with the matrix, and should be added to and amended where necessary:

SE = Structural Engineer:  CE = Civil Engineer: M&E = Mechanical Services and Electrical Consultant.

- Setting Out: The Architects responsibility:  Drawings to establish setting out dimensions to established datum and dimensioned grid.

- Steelwork/concrete/masonry/Timber: SE’s drawings (line diagrams) show member sizes, setting out of main members, and connection forces. Connections are designed and detailed by the package Contractor and shown on the package Contractor’s shop drawings. Connection details and calculations are to be submitted for the SE’s  review. The corrosion protection system is specified by the SE and defined on their drawings. The Architect is responsible for specifying the surface finish (top coats) for all visible steelwork, and for co-ordinating the corrosion protection, fire protection, and surface finish of all steelwork (refer note 11).

The SE defines the building movement, the M&E consultant advises on plant support, plant spatial limitations and plant vibration.

- Stairs and Pedestrian Ramps: The Architect is responsible for designing all stairs/ramps layouts and checking all headroom requirements. The Architect’s drawings show all landing and waist thicknesses, and the setting out of all risers and goings to edge of concrete.  Structural Details if required to be shown on the SE’s drawings.

- Structural Movements and Movement joints: The SE designs the movement joints between structural elements, and advises on the expected structural movements. Movement joints involving cladding, waterproofing, services, partitions, finishes etc are to be designed by the designers of these other items, but must allow for the degree of structural movement advised by the SE. SE will advise the Architect on movement joint locations in masonry walls, for inclusion on the Architect's drawings. The Architect and the M&E consultant must inform the SE at concept stage of any fundamental restrictions on structural movements over and above standard code limitations, for example from specialist plant and equipment, including vibration comfort criteria. Movement criteria can govern structural design.

- Structural Penetrations: “Major” structural penetrations are defined as penetrations greater than 300mm in slabs or structural walls, and any penetration in beams or columns.  The SE is to note these on their drawings. “Minor” structural penetrations are penetrations 300mm or less in slabs or structural walls. These are treated as builder’s work (see note 9). Coordination between consultants and floor supplier is required to achieve a rational and standard layout for penetrations. M & E designer is responsible for obtaining structural engineers approval for the size and location of all building services penetrations. Sizes, locations and setting out of all major structural penetrations to be shown on SEs drawings.

- Fixings: The design of these items and their fixing mechanisms is the responsibility of the designer of the item requiring fixing. Heavyweight fixings, e.g. cladding fixings and all cast-in fixings, may have a significant impact on the design of the permanent structure. Co-ordination and agreement is required between the designer of the fixings and the SE on the locations and details of all heavyweight fixings to the primary structure, and the forces they exert on the primary structure. Lightweight fixings, e.g. fixings for electrical trunking, ceiling panels etc, have a negligible effect on the primary structure, and do not require the involvement of the SE. Fixings to cold formed sections (eg purlins) must be in accordance with the cold formed section manufacturer’s recommendations. SE will advise on the suitability of all fixings required in the structure.

- Secondary steelwork: SE is responsible for the design of all primary structural steelwork, which is defined as “steelwork essential to the integrity and robustness of the structural frame”. Secondary steelwork items such as handrails, stair balustrades, lift guides, plant supports, partition frames, etc are the responsibility of the designer of the item, Consultant, Contractor or specialist supplier.

The SE is responsible for checking the effects on the main structure of other’s imposed loads, and designing the lift lifting beams.

- Structural Advice: These items are not shown on the SE’s drawings, but the Architect may require advice from the SE on structural requirements. The Architect is responsible for obtaining this advice, and coordinating the details, which are shown on the Architects drawings.

8A. Wall Cladding: All items of cladding, cladding support and cladding fixings to the structural frame are to be designed by the Architect and/or the cladding contractor. Co-ordination and agreement is required between the cladding designer, the Architect and SE on the locations and details of all cladding fixings to the primary structure, and the forces they exert on the primary structure (see Note 6).

The Architect is to clearly identify the extent of differing cladding materials, their specification and clear details of the junction/connection at the interface with other building elements.  Sub-contractor to complete the detailed design of the actual cladding system including the preparation of fabrication and installation drawings and the design of all fixings and support grids.  The SE is to check the applied wind loadings to be utilised in relation to the cladding, and the building movement & structural tolerances.  The SE is to be responsible for checking specialist sub-contractors submissions with respect to structural matters, which may include calculations, structural test data, and details.  The Architect is responsible for co-ordinating interfaces and checking and commenting on subcontractor drawings with respect to Architectural aspects.  (Similar Architectural responsibilities exist for windows, doors, louvres; & glazing systems)

8B.	Roof cladding

Sub-contractor design is appropriate only in relation to standard roofing “system”.  Sub-contractor design will be limited to the preparation of fabrication and installation drawings.  The SE is responsible for providing the structural supports, and checking specialist sub-contractors submissions with respect to; calculations, structural test data and details.

- Builder’s work: Builder’s work is work of a structural nature required by the builder (the Contractor). Apart from all structural penetrations (see Note 5), builder’s work is not shown on the SE’s drawings. Builder’s work includes many items which may affect the primary structure, ie items that are cast into or fixed to the primary structure, or exert a force on the primary structure. The structure will generally be designed before the final builder’s work details are available. It is therefore the M&Es responsibility to provide advance information on all builder’s work requirements, of sufficient accuracy to enable the SE to design the primary structure. M&E consultant must review all builder’s work details to ensure that they are consistent with this advance information, and where this is not the case, advise the SE accordingly.

- Fire Protection: The fire strategy for the project is defined by the Architect with advice from the Fire Consultant. Fire resistance periods and fire protection details for all elements are shown on the Architects drawings. The fire resistance period can have a major effect on the structural design. Fire protection of structural steelwork must be agreed at an early stage between the Architect and the SE, as the chosen fire protection system will influence the design of the steelwork and its corrosion protection system.

- Waterproofing: Waterproofing is not a structural item but it does require coordination with structural elements and it must respond to structural movements. Design of waterproofing systems is the role of the Architect who may wish to seek advice from relevant manufacturers.

- Finishes: All finishes are specified and designed by the Architect and may have to respond to and cater for structural movements (refer to Note 4). For structural steelwork, the Architect specifies the corrosion protection requirements; finish coats are specified by the Architect. Concrete surfaces finishes are specified by the Architect to suit any subsequent applied finishes (e.g. screeds, paints, line markings).

- Partitions: Partitions are not items of primary structure. They are designed by the Architect, who is responsible for advising the SE of the loads imposed by the partitions on the structure. Also significant loads from equipment must be taken into account by the SE, who shall inform Architect of any noggins, pattresses, or other supports required in the walls. The Architect shall show these requirements on their wall elevation drawings. SE to advise on the suitability of fixings to accommodate deflection of the structure.

- Delivery of Plant: M&E Consultant shall co-ordinate with regard to temporary openings and delivery routes necessary for the delivery of large items of plant and equipment, and shall advise the SE of all such requirements. These requirements can have a major impact on the structure so must be advised to the SE at an early stage.

- Drainage Co-ordination: M&E are responsible for the design of all surface water and foul drainage installations above the ground floor slab.  The CE is responsible for the diversion of existing underground drainage networks and provision of connections to existing drainage networks or to new outfalls adjacent to the site. The CE is responsible for the design of surface water and foul drainage installations from ground floor slab to the new outfalls and for drainage from roads and external paved areas. M&E engineers are responsible for ensuring that no above ground drainage runs clash with any structural elements, and for obtaining the SE’s approval for any penetrations required (refer to Note 5).

CE to ensure that the drainage and service runs below ground do not clash with the structure, and to fully dimension drainage outlets/ manholes / rodding eyes / etc where they protrude through the ground floor slab, from information provided by other members of the Design Team. Architect to detail waterproofing around all floor penetrations. For the avoidance of doubt, gullys and the like are “below ground floor slab”.

- External Works: Engineering construction details will be provided by CE. The extent, setting out, levels and finishes details will be shown on the Architects drawings. For external concrete slabs, CEs drawings show joint layouts and joint details. Services consultant to co-ordinate requirements or any services construction and to produce detailed drawings and sections for services.

- Loading: Dead loads, imposed loads, wind and snow loads are defined and lead by the SE. Input is required from  all other consultants and the Client to verify all the load allowances. This information may also be used by the Contractor and the designers of cladding and glazing elements.

- Acoustic Hardware: Acoustic hardware such as floating floors, acoustic isolation, acoustic ceilings, and acoustic bearings are designed and specified by the Architect or the acoustic consultant, and shown on Architects drawings. Where acoustic bearings are incorporated in the primary structure, they are indicated on SE’s drawings, and where acoustic isolation of plant and machinery is required, the details are shown on M&Es drawings.

- Cold Formed Sections: The design of cold formed sections (eg sheeting rails and purlins) is done by the specialist supplier, to SE’s specification. Drawings and calculations are prepared by the specialist and submitted to SE for review.

- Barriers: Protective barriers are defined as “any elements of the building or structure intended to prevent people from falling and to retain stop or guide people or vehicles”. The design of barriers requires input from SE. Where the barrier forms an integral part of the structural frame it will be designed and shown on SE’s drawings. In other cases, the barriers will be designed and drawn by Architect or by a specialist supplier to  the Architects specification and SE advice where appropriate.

- Health & Safety: Design Risk Assessments are required under the CDM regulations from all designers, for submission to the Planning Supervisor. Architect is to co-ordinate as Design Team Leader. Risks are to be clearly identified on the drawings in accordance with agreed procedure.

- Reinforcement Details and Bending Schedules: SE will produce full reinforcement details and bending schedules for all insitu concrete: will produce general arrangement drawings and drawings of non-standard details with sufficient information to enable the Contractor to prepare full reinforcement details and bending schedules for precast and prestressed concrete elements; drawings and calculations are prepared by the specialist supplier and submitted to SE for review.

- External Works: Architect will lead on car park layouts and access, circulation routes, drop off areas and bus and ambulance facilities. CE will lead on the implementation, by the use of barriers, signage etc, for the chosen car park management strategy. CE will lead in seeking the approvals from the Highway Authority on matters relating to bus access, cycle facilities, car park and circulation layouts and control.

- Safety Access Systems

Architect to define and clearly identify access and maintenance strategy and the method and type of access equipment to be installed together with all locations, operating restrictions and proposed method of fixing.  Sub-contractor to be responsible for the specific equipment design and associated fabrication and installation drawings.  (To include any cradle access equipment, latchway systems, access walkways, harness fixing points, etc)

- Lifts

Architect to provide full performance specification including size, speed, car finishes, doors and architraves, method of operation, communications.  Sub-contractor to complete detailed design and provide fabrication and installation drawings in accordance with BS EN 81 SE to define building movement adjacent to the Lifts, for inclusion in Architects’ full performance specification.

- As Built Drawings

As Built Drawings, in accordance with the Project Agreement, will be drafted by all the Design Team Members, using marked up drawings provided by the Constrctor. Acoustics

Detailed advice on the make-up of construction elements will be provided by Acoustic Consultant. Co ordination of the agreed construction with the building fabric will be undertaken by Architect.